To get help on template, choose HelpTemplate Help or click toolbar button .
Company Name and Logo

Testing Team
Test Case Template
Table of contents
Author:	POW-R Team
Confidentiality:	CONFIDENTIAL & PRIVILEGED. This document contains confidential and privileged trade secrets and other information of the POW-R Team and as such may not be disclosed to others not employed by the POW-R Team. All rights reserved.
Revision history
Date	By	Description of changes
02/04/2013	gdegeus	Numbered requirements in Trac
02/18/2013	gdegeus	Filled out first 4 sections, first draft.
02/25/2013	gdegeus	Filled out Traceability Matrix
03/03/2013	gdegeus	Wrote software Unit tests. Consulted with chathaway on all software tests.
03/07/2013	gdegeus	Wrote software System tests
03/10/2013	gdegeus	Wrote software Integration tests
03/10/2013	gdegeus	Wrote all hardware related tests. Consulted with npickett, nquimby, fimmel on all hardware tests.
03/11/2013	gdegeus	Wrote all Acceptance tests
03/11/2013	gdegeus	Final draft completed

# Test Information
## Test type
___ Full Test	___ Regression Test
## System Under Test
System name: ____________________________________	Staple the recorder listing
Version:	____________________________________	of the configuration here
## Test Personnel
Name: _________________________________ Date: _____________ Time/h: __________
Name: _________________________________ Date: _____________ Time/h: __________
Name: _________________________________ Date: _____________ Time/h: __________
# Test Summary
## Results
Conclusion of the test: PASS / FAIL

Identifiers of the observations recorded:
____________ ____________ ____________ ____________ _____________
____________ ____________ ____________ ____________ _____________

Total number of cases failed: _____________

# Background
## Purpose and Scope of the Test
The requirements to be tested in this document are the requirements that must be passed or proven true for the system to be declared a working prototype. A working prototype is defined as a system that the team would be proud to present at the end of this course to classmates, professors, and potential employers. This does not include requirements that would have to be met were this system to be sold as a product.
The requirements to be tested include functionality of the hardware and software, and integration between the monitoring hardware, the server, and the display. These requirements do not include aspects such as physical appearance, large scale capability, or more complicated security requirements. The requirements to be tested can be found on the project website at: http://dunari.cis.vtc.edu:8001/POWER/wiki/Requirements-Index
Each requirement has a Trac ticket associated with it on the page mentioned above, and will be marked as complete as each test associated with that requirement is passed.
A comprehensive list of all requirements can be found in the requirements document, which can be downloaded at:
http://dunari.cis.vtc.edu:8001/POWER/browser/Project%20Repository/Documents/Requirements.odt
## Additional Information
Additional information can be found on the Trac website and in the SVN repository, including source code, tickets and additional documentation.
## Experience required
The tester must be familiar with some python commands and have basic knowledge of the use of the command line to run python commands.
## Test Items / Equipment Needed
1. Satellite prototype
2. Server (Raspberry Pi)
3. Device to be monitored
4. Independent computer with internet access and a web browser
5. A standard National Electrical Manufacturers Association (NEMA) 5-15 mains electrical outlet
## Estimated test time
The entirety of these tests should take approximately 2-3 hours.
## Reference Documents
Requirements Referenced: http://dunari.cis.vtc.edu:8001/POWER/wiki/Requirements-Index
 Requirements Document: http://dunari.cis.vtc.edu:8001/POWER/browser/Project%20Repository/Documents/Requirements.odt
# Preparing the Test Environment
## Application Setup
The system consists of a Coordinator Satellite, at least one Router Satellite, the Server, hosted on the Raspberry Pi provided, and the Display, a website to be accessed via a web browser on an independent computer.
1. Connect the Server into a power outlet
2. Connect the Coordinator Satellite to the Server via USB
3. Connect the Coordinator Satellite to the NEMA power outlet
4. Connect any Router Satellites into NEMA power outlets
5. Connect the Server to the network
6. Power on the Server
7. Power on the Satellite
8. Plug the Device into a Router Satellite

## Additional Tools
Addition tools required for some tests include:
- Variak
- Volt meter
- Current meter
- Automated tests files (available in source code)
- Zigbee Mesh test program and accompanying number list
- Serial Monitoring Software
- Voltage Test Software for Satellite
- Current Test Software for Satellite
Comments:	____________________________________________________________________
____________________________________________________________________
____________________________________________________________________
____________________________________________________________________

# Unit Test Cases
## Django Unit tests
Test Case ID	TC_U01
Description	Unit test suite generated by Django
Applicable For	Server software
Requirements	FD_101, FD_102
Initial Conditions	Run “manage.py test” in command line

Test Name	Input	Expected Results	Success Criteria	Pass / Fail
CheckResourceMetaTests		“Resources should inherit the meta options from ModelMeta”	Resources inherit the meta options from ModelMeta	Pass / Fail
web_ui_tests.test_login	User is at the log in page	"The user should be logged in after we finish the login test!"	User is logged in to the site	Pass / Fail
web_ui_tests.test_logout	User is logged in to the site	"The user should be logged out after we finish the logout test!"	User is on the log in page	Pass / Fail
web_ui_tests.test_add_device	“What is it?” = “lamp” / “Where is it?” = “the kitchen” / “Is it unique in any way?” = “blue shade”	"There should be one device there now"	Device has been created and appears on Device Management page	Pass / Fail
web_ui_tests.test_rename_device	Device name = “lamp in the kitchen with the blue shade"	"There should be one device with the name lamp in the kitchen with the blue shade" / or / "There should be one device there now"	Device name on Device Management page has changed to “lamp in the kitchen with the blue shade”	Pass / Fail
web_ui_tests.test_disable_device_single	Device “lamp in the kitchen with the blue shade” is enabled on Device Management page	"There should be one device there now"	Device “lamp in the kitchen with the blue shade” is disabled on Device Management page	Pass / Fail
web_ui_tests.test_add_user	“username” = “test” / “password” = “password” / “Retype password” = “password”	"There should be two users now"	There are 2 users visible on User Management page	Pass / Fail
web_ui_tests.test_add_satellite		“There should now be one satellite in the database”	There is a satellite on the Satellite Management page	Pass / Fail
web_ui_tests.test_del_user		"There should be one user now"	There is only one user on the User Management page	Pass / Fail
get_satellite_by_id	Satellite ID in the form of “aaa-bbb-ccc:a”	Satellite object	A Satellite object is returned with the same ID as was the input to the test.	Pass / Fail
find_power_cost	Range between 0 and 1000	Power cost applicable to current time stamp	Power cost calculated is within expected limits	Pass / Fail

Overall: Pass / Fail	Date:
Notes:

## Zigbee Mesh Test
Test Case ID			TC_U02
Description			Tests whether the Router Satellites can communicate with the Coordinator Satellite to transmit data to the database.
Applicable for
Requirements			FV_105, FS_104, FS_103
Initial Conditions			Router Satellite is powered on with the test program loaded, Coordinator Satellite is connected to the Server, serial monitor software is monitoring input from the Coordinator, list of numbers in test program is provided.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Press the button on the Router Satellite to begin the transmission of the test data.
		Verify that the numbers shown in the serial monitoring software match the numbers on the list provided.		Pass / Fail
		Verify that the numbers are being received at least once every 60 seconds.		Pass / Fail

Overall: Pass / Fail
Notes:

## Voltage Circuit
Test Case ID			TC_U03
Description			Tests the voltage measuring circuit for functionality and accuracy.
Applicable for
Requirements			FS_101
Initial Conditions			Router Satellite is plugged into variak, volt meter plugged into output of Router Satellite, Coordinator Satellite loaded with voltage test software and plugged into Server via USB, serial monitoring software is monitoring input from the Coordinator.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Using the variak, adjust the voltage to a relatively low number.
		Verify that the serial monitor is showing the same voltage as the voltmeter with +/- 5% error.		Pass / Fail
		Adjust the voltage to a relatively high number.
		Verify that the serial monitor is still showing the same voltage as the voltmeter with +/- 5% error.		Pass / Fail

Overall: Pass / Fail
Notes:

## Current Circuit Test
Test Case ID			TC_U04
Description			Tests the current measuring circuit for functionality and accuracy.
Applicable for
Requirements			FS_101
Initial Conditions			Router Satellite is plugged into a NEMA power outlet, current meter is clamped onto one output wire of the Router Satellite, Coordinator Satellite loaded with current test software and plugged into Server via USB, serial monitoring software is monitoring input from the Coordinator.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Apply a load between 0 and 20 amps to the Router Satellite output.
		Verify that the serial monitor is showing the same current as the current meter with +/- 5% error.		Pass / Fail
		Apply a new load between 0 and 20 amps to the Router Satellite output.		Pass / Fail
		Verify that the serial monitor is still showing the same current as the current meter with +/- 5% error.		Pass / Fail
		Apply a new load between 0 and 20 amps to the Router Satellite output.		Pass / Fail
		Verify that the serial monitor is still showing the same current as the current meter with +/- 5% error.		Pass / Fail

Overall: Pass / Fail
Notes:

# System Test Cases
## Log in
Test Case ID			TC_S01
Description			Tests the Login Screen
Applicable for			IE7 or newer, Firefox
Requirements
Initial Conditions			Equipment is set up as per Preparing the Test Environment section.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Open the log in page using the IP address displayed on the LCD screen on the Server.
		Verify that the log in screen is displayed on both IE6 and Firefox.		Pass / Fail
		Enter Username and Password.
	R	Verify that the username can be entered.		Pass / Fail
	R	Verify that the password is masked and can be entered.		Pass / Fail
	R	Verify that the Log in button is displayed.		Pass / Fail
	R	Click the “Log in” button, verify that the page changes to the “Home” page		Pass / Fail

Overall: Pass / Fail
Notes:

## Log out
Test Case ID			TC_S02
Description			Tests the Log out functionality
Applicable for			IE7 or newer, Firefox
Requirements
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is already logged in to the site.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		User is on any page on the site
	R	Verify that the log out link is available.		Pass / Fail
		Click on the “Log out” button.
	R	Verify that the user has been logged off of the site, the browser displays the log in page.		Pass / Fail
		Verify that the log in screen is displayed on both IE6 and Firefox.		Pass / Fail

Overall: Pass / Fail
Notes:

## Add Device
Test Case ID			TC_S03
Description			Tests the ability to add a Device
Applicable for
Requirements			FD_101
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is logged in to the site.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the Device Management page.
		Click the Add Device button. Verify that there are two Add Device buttons on this page.		Pass / Fail
		Enter relevant data in each of the fields. Verify that it is possible to enter data in each field.		Pass / Fail
		Click Add Device.		Pass / Fail
	R	Select a Satellite to associate to the Device.		Pass / Fail
	R	Verify that the Device is Enabled. Click Save.		Pass / Fail
	R	Verify that the new Device appears on the Device Management page.		Pass / Fail

Overall: Pass / Fail
Notes:

## Disable Device
Test Case ID			TC_S04
Description			Tests the Disable Device option
Applicable for
Requirements			FD_101
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is logged in to the site.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the Device Management page.
		Click the check box next to an existing Device.
		Click the Disable selected Devices option in the drop-down menu. Click Go.
	R	Verify that there is an “Are you sure?” page. Click “Yes, I'm sure”.		Pass / Fail
	R	Verify that the disabled Device is no longer on the Device Management page.		Pass / Fail
	R	Change the Filter to show all disabled devices by clicking “No”.		Pass / Fail
	R	Verify that the disabled Device is now visible with a red negative sign under the Enabled column.		Pass / Fail

Overall: Pass / Fail
Notes:

## Add Satellite
Test Case ID			TC_S05
Description			Tests the add Satellite functionality
Applicable for
Requirements			FD_102
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is logged in to the site.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the Satellite Management page.
	R	Click the Add Satellite button. Verify that there are two Add Satellite buttons on this page.		Pass / Fail
		Click Next.
	R	Verify that a Satellite serial number is shown, format XXX-XXX-XXX.		Pass / Fail
		Click Next, and then navigate to the Satellite Management page,
	R	Verify that the serial number displayed on the previous screen is now displayed in the list of available Satellites.		Pass / Fail

Overall: Pass / Fail
Notes:

## Remove Satellite
Test Case ID			TC_S06
Description			Tests that Satellites can be removed.
Applicable for
Requirements			FD_102
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is logged in to the site.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the Satellite Management page.
		Click the check box next to an existing Satellite.
		Click the Delete selected Satellites option in the drop-down menu. Click Go.
	R	Verify that there is an “Are you sure?” page. Click “Yes, I'm sure”.		Pass / Fail
	R	Verify that the deleted Satellite is no longer on the Satellite Management page.		Pass / Fail

Overall: Pass / Fail
Notes:

## Add User
Test Case ID			TC_S07
Description			Tests the Administrator functionality to add users.
Applicable for
Requirements
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is logged in and has Administrator privileges.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the User Management page.
	R	Click the Add User button. Verify that there are two Add User buttons on this page.		Pass / Fail
		Enter Username and Password, re-type the Password, and click Save.
	R	Verify that there is a Change User page, and that the username displayed is the one previously entered.		Pass / Fail
	R	Verify that the additional information fields include: First Name, Last Name, E-mail address, and Permissions.		Pass / Fail
		Click Save.		Pass / Fail
	R	Verify that the new user with the username entered above is now visible on the User Management page.		Pass / Fail

Overall: Pass / Fail
Notes:

## Remove User
Test Case ID			TC_S08
Description			Tests the Administrator functionality to remove users.
Applicable for
Requirements
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is logged in and has Administrator privileges.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the User Management page.
		Click the check box next to an existing User, that is not the currently logged in user.
		Click the Delete selected Users option in the drop-down menu. Click Go.
	R	Verify that there is an “Are you sure?” page. Click “Yes, I'm sure”.		Pass / Fail
	R	Verify that the deleted User is no longer on the User Management page.		Pass / Fail

Overall: Pass / Fail
Notes:

## Rename Device
Test Case ID			TC_S09
Description			Tests the ability to rename a Device.
Applicable for
Requirements			FD_101
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is logged in.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the Device Management page.
		Click on an existing Device.
	R	Verify that there is a Change Device page.		Pass / Fail
	R	Verify that the name of the Device can be edited.		Pass / Fail
		Enter a new name for the Device. Click Save.		Pass / Fail
	R	Verify that the new Device name is displayed on the Device Management page.		Pass / Fail

Overall: Pass / Fail
Notes:

## Reassign Device
Test Case ID			TC_S10
Description			Tests the ability to reassign a Device.
Applicable for			IE6, Firefox
Requirements			FD_101
Initial Conditions			Equipment is set up as per Preparing the Test Environment section.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the Device Management page.
		Click on an existing Device.
	R	Verify that there is a Change Device page.		Pass / Fail
	R	Click on the drop-down menu next to “Satellite:” and select a different serial number.		Pass / Fail
		Click Save.
	R	Verify that the Device modified has the same serial number on the Device Management page as was specified previously.		Pass / Fail

Overall: Pass / Fail
Notes:

# Integration Test Cases
## Create a Graph
Test Case ID			TC_I01
Description			Tests whether the site can create graphs with data from the Satellites.
Applicable for
Requirements
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is logged in.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the Power Usage page.
		Click the option to Create a Graph
		Follow the instructions to create a line graph with one existing device, that is normal (not stacked).
		Click the Create Graph button.
	R	Verify that there is a graph displayed.		Pass / Fail
	R	Verify that the graph is a line chart, includes data from the selected device and only from the selected device, and that there are no stacked lines.		Pass / Fail

Overall: Pass / Fail
Notes:

## View Graphs
Test Case ID			TC_I02
Description			Tests that graphs previously created can still be viewed.
Applicable for
Requirements			FD_103, FD_201
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is logged in. Test TC_I01 has been run immediately prior.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the Power Usage page.
		Click the View Graphs page.
	R	Verify that there are graphs on this page, including the graph created in the last test.		Pass / Fail

Overall: Pass / Fail
Notes:

## Data Retention Across Satellites
Test Case ID			TC_I03
Description			Tests whether data on a Device is retained when the Device is assigned to a new Satellite.
Applicable for
Requirements			ND_103
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user is logged in to the site, there is at least one Device in the database associated with data.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Navigate to the Device Management page.
		Verify that there is an existing Device with associated data.
		Create a graph with just the data from the Device specified above.		Pass / Fail
	R	Navigate back to the Device Management page. Edit the settings of the specified Device. Change the Satellite associated with the Device.		Pass / Fail
		Return to the Power Usage page and create a graph identical to step 5.		Pass / Fail
	R	Verify that the graph does not differ from the original graph, verify that the data has not been lost.		Pass / Fail

Overall: Pass / Fail
Notes:

## Zigbee Data Transfer
Test Case ID			TC_I04
Description			Tests that data from the Satellites is being stored in the database correctly.
Applicable for
Requirements
Initial Conditions			Router Satellite is powered on with the test program loaded, Coordinator Satellite is connected to the Server, list of numbers in test program is provided. The user is logged in.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Press the button on the Router Satellite to begin the transmission of the test data.
		Navigate to the Power Usage page.		Pass / Fail
		View the Raw Data.		Pass / Fail
		Verify that the numbers shown in the raw data table match the numbers on the list provided.		Pass / Fail
		Verify that the numbers are being received at least once every 60 seconds.		Pass / Fail

Overall: Pass / Fail
Notes:

# Acceptance Test Cases
## Ease of Learning
Test Case ID			TC_A01
Description			Tests how easy it is to learn to use the site
Applicable for
Requirements			ND_101
Initial Conditions			The tester has never used the Display interface before. This test must be timed.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Open the log in page using the IP address displayed on the LCD screen on the Server. Begin the timer.
		Log in to the site.		Pass / Fail
		Add a Satellite. Verify the Satellite has been added.		Pass / Fail
		Add a Device, be sure to specify the Satellite associated with it. Verify the Device has been added.		Pass / Fail
		Navigate to the Power Usage page.
		View a graph representing data from the Device and Satellite just added.		Pass / Fail
		Stop timer. Verify that this test took less than 10 minutes.		Pass / Fail

Overall: Pass / Fail
Notes:

## Examining the Satellite
Test Case ID			TC_A02
Description			Test to confirm that the physical Satellite conforms to requirements about its appearance.
Applicable for
Requirements			NS_101 , NS_102 , FS_101
Initial Conditions			Equipment is set up as per Preparing the Test Environment section.
Step	Full / Regr	Task & Expected Result		Pass / Fail
	R	Verify that the Satellite can be plugged into a standard National Electrical Manufacturers Association (NEMA) 5-15 mains electrical outlets.		Pass / Fail
	R	Verify that there is a small LED on the Satellite.		Pass / Fail
	R	Verify that this LED turns on when the Satellite is plugged into the outlet.		Pass / Fail
	R	Verify that the Satellite is small relative to a desktop computer and a laptop computer, and that it is not considerably larger than the outlet.		Pass / Fail

Overall: Pass / Fail
Notes:

## Examining the Server
Test Case ID			TC_A03
Description			Test to confirm that the physical Server conforms to requirements about its appearance.
Applicable for
Requirements
Initial Conditions			Equipment is set up as per Preparing the Test Environment section.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Verify that the Server is in the same building as the Coordinator and Router Satellites.		Pass / Fail
		Verify that the Server is connected to the network in the building.		Pass / Fail

Overall: Pass / Fail
Notes:

## Data Loss Error
Test Case ID			TC_A04
Description			Tests that losing data is considered an error and that a record of the error is available so the problem can be addressed.
Applicable for
Requirements
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The Coordinator Satellite is informed of the number of Router Satellites on the mesh and the frequency with which the transmissions are being sent.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Remove a Router Satellite from the mesh mid-transmission by restarting it.
		View the Error Log found on the Server.		Pass / Fail
		Verify that there are errors in this log.		Pass / Fail
		Verify that these errors are consistent with the missed transmissions.		Pass / Fail

Overall: Pass / Fail
Notes:

## Display Responsiveness
Test Case ID			TC_I05
Description
Applicable for
Requirements
Initial Conditions			Equipment is set up as per Preparing the Test Environment section. The user may or may not be logged in.
Step	Full / Regr	Task & Expected Result		Pass / Fail
		Run the Responsiveness automated test from the command line.
		Expected result is the site is opened in a browser.		Pass / Fail
		Verify that the test outputs the time it takes to load 3 separate pages.		Pass / Fail
		Verify these numbers are all less than 300 milliseconds.		Pass / Fail

Overall: Pass / Fail
Notes:

# Traceability matrix
Requirement id	Test case id	Note
FS_101	TC_A02
FS_102
FS_301
FS_103
FS_104
FV_101
FV_102
FV_103
FV_104
FV_105
FD_101	TC_U01, TC_S03, TC_S04, TC_S09, TC_S10
FD_102	TC_U01, TC_S05, TC_S06
FD_103	TC_I01, TC_I02
FD_201	TC_I01, TC_I02
NS_101	TC_A02
NS_102	TC_A02
ND_101	TC_A01
ND_102
ND_103	TC_I03